## Slide 1: Sweet Home, Oregon
JACOBS - What we do for you!
8-28-2018

## Slide 2: Sweet Home Overview

## Slide 7: Labor
17/18 Contract Year
Local Labor $315,000
Regional Support $75,000
Total Labor dollars $390,000

## Slide 8: Chemicals Budgeted
S02 $24,000
Cl2 $25,000
WT Polymer $1,500
WW Polymer $10,000
Salt, Fluoride, HCL, SodaAsh $22,000
Total $82,500

## Slide 9: Solids Handling
Actual Hauling Costs to Sweet Home Sanitation
$101,000 (17/18 contract year)
In addition Sweethome paid 45K in out of scope solids hauling

## Slide 10: Electrical Costs
$130,000

## Slide 11: Work Orders
Corrective Maintenance 171
Preventative Maintenance 1682
Safety work Orders 566

## Slide 12: Drinking Water Requirements
Prepare and submit Monthly Operating and Fluoride reports
Maintain Cl2 residual as water enters distribution system
Maintain pH within regulatory standards and to help reduce corrosion in the distribution system
Lead and copper testing (Value added)

## Slide 13: WWTP Permit Compliance
  Prepare and submit Daily Monitoring Report(DMR) to DEQ Monthly
  cBOD/TSS prep and send to Lebanon weekly
  pH on effluent 3 times weekly
  E-Coli, sample and send to Lab 2x weekly
  Maintain SO2 to remove Cl2 before discharge to River
  (other various procedures and tests)

## Slide 14: Challenges
WTP nearing 10 years since commissioning
Odor Complaints – Being a good neighbor
Equipment and infrastructure beyond design life at WWTP (constant failures)
Cyanotoxins
Ever tightening regulation
Dealing with Regulators both DEQ and OHA

## Slide 15: Questions?